| Title | Construct a spaced residential timber deck up to one metre high as a BCATS project |  |  |
| --- | --- | --- | --- |
| Level | 2 | Credits | 8 |

| Purpose | This unit standard has been designed to be achieved in a building, construction and allied trades skills (BCATS) programme. People credited with this unit standard are able to: calculate quantities and prepare an order of materials; set out and construct; and complete work operations for a spaced residential timber deck up to one metre high. |
| --- | --- |

| Classification | Construction Trades > Building, Construction, and Allied Trades Skills |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Explanatory notes

1	Definitions

BCATS environment refers to any workplace or context where work or activities related to the building, construction and allied trades sector take place, such as school workshops, training establishments, outdoor areas, and industry placement workplaces.

BCATS project refers to a project undertaken in a BCATS environment under general supervision, using a range of tools, equipment and materials, and involving standard processes.

Specifications refers to documented instructions (oral, written, graphic) such as: manufacturers’ specifications, recommendations or technical data sheets; material specifications; specifications from a specialist source such as an architect, designer, engineer or a supervisor; site or work specific requirements.

Working drawings are the set of drawings associated with a construction project, and can include plans, elevations, sections, details or any other drawings that give information about the project.

Workplace practice refers to procedures specific to a BCATS environment, which cover the standard and required practices of that environment.

2	Assessment against this unit standard may occur in any BCATS environment.

3	Legislation relevant to this unit standard includes:

Health and Safety at Work Act 2015;

Health and Safety at Work Regulations 2016.

Building Act 2004;

New Zealand Building Code;

NZS3604:2011 Timber Framed Buildings, available from Standards NZ (http://www.standards.co.nz).

Outcomes and evidence requirements

Outcome 1

Calculate quantities and prepare an order for materials for a spaced residential timber deck up to one metre high.

Evidence requirements

1.1	Quantities of materials are calculated from working drawings and job specifications.

1.2	An order for materials is prepared in accordance with workplace practice.

Outcome 2

Set out and construct a spaced residential timber deck up to one metre high.

Evidence requirements

2.1	Pile positions are set out and holes excavated in accordance with working drawings and job specifications.

2.2	Piles are placed in accordance with working drawings and job specifications.

2.3	Bearers and joists are set out, cut and fixed in accordance with working drawings and job specifications.

2.4	Decking is cut, fixed and finished in accordance with working drawings and job specifications.

Outcome 3

Complete work operations.

Evidence requirements

3.1	All operations are safely completed in accordance with workplace practice.

3.2	Workplace, tools, plant and equipment are cleaned, and tools, plant and equipment are stored in accordance with workplace practice.

| Planned review date | 31 December 2021 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 May 1999 | 31 December 2018 |
| Review | 2 | 27 August 2001 | 31 December 2018 |
| Review | 3 | 14 December 2007 | 31 December 2018 |
| Rollover and Revision | 4 | 20 October 2016 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Please note

Providers must be granted consent to assess against standards (accredited) by NZQA, before they can report credits from assessment against unit standards or deliver courses of study leading to that assessment.

Industry Training Organisations must be granted consent to assess against standards by NZQA before they can register credits from assessment against unit standards.

Providers and Industry Training Organisations, which have been granted consent and which are assessing against unit standards must engage with the moderation system that applies to those standards.

Requirements for consent to assess and an outline of the moderation system that applies to this standard are outlined in the Consent and Moderation Requirements (CMRs).  The CMR also includes useful information about special requirements for organisations wishing to develop education and training programmes, such as minimum qualifications for tutors and assessors, and special resource requirements.

Comments on this unit standard

Please contact the Building and Construction Industry Training Organisation national.office@bcito.org.nz if you wish to suggest changes to the content of this unit standard.